|  |  |
| --- | --- |
| Voltage parameters [pu] | |
| Uret | 0,00-0,30 |
| Urec1 | 0,25-0,85 |
| Urec2 | ~~0,85 – 0,90~~ in accordance with the minimum voltage specified in Article 18 respectively Article 48 for remote-end HVDC converter stations |
| Urec3 | ~~0,85 – 0,90~~ in accordance with the minimum voltage specified in Article 18 respectively Article 48 for remote-end HVDC converter stations |

**Table 7.1**: Voltage parameters for Figure 6 for the fault-ride-through capability of an HVDC converter station.

|  |  |
| --- | --- |
| Time parameters [seconds] | |
| tclear | 0,14-0,25 |
| trec1 | 1,5-2,5 |
| trec2 | trec1-10,0 |
| trec3 | To be specified by each TSO or islanded AC network operator and ≥ trec2 and in accordance with the times specified in Article 18 respectively Article 48 for remote-end HVDC converter stations |

**Table 7.2**: Time parameters for Figure 6 for the fault-ride-through capability of an HVDC converter station.